## 2025
2024 Research Ideas | Original Note | 2026 Research ideas
Grid Resilience |  | Grid Resilience
2. Heat wave related load management | Item 2 - Heatwaves impact varies across utilities, so high level interest for some, low for others, high priority | 1. Heat wave related load management, noting that heatwaves impact varies across utilities, so there is high level interest for some and low for others, making it a high priority.
4. System hardening effectiveness ROI (pole, materials, size of pole, wireless transmission, AC vs. DC, transmission, helps utilities prioritize) | Combine 4,5,6. High priority | 2. System hardening effectiveness ROI, including factors such as pole, materials, size of pole, wireless transmission, AC vs. DC, and transmission, which helps utilities prioritize, along with the impact of emerging technologies on grid resilience to assist utilities and the climate change impact on system hardening ROI.
5. Emerging technologies impact on grid resilience -assist for utilities | Combine 4,5,6 | 3. Optimizing restoration resources in and among utilities, with the added usefulness of having regional visibility on storm impact such as outages across the East Coast, which ties to the mega project (OPM).
6. Climate change impact on system hardening ROI | Combine 4,5,6 . 6 could be combined above but also relates to CC | 4. Develop accurate methods to predict electrification demand
7. Optimizing restoration resources in /among utilities | Item 7 – it would be useful to have a regional visibility on storm impact (outages across East coast). Ties to the mega project (OPM) | 5. Optimizing storm forecast lead time and using probabilistic weather forecasts, such as debris flow in the West and snow in the East, to support decision making at 3–5 day timescales, including providing confidence levels to outage prediction thresholds and informing pre-storm crew deployment.
8. Develop accurate methods to predict electrification demand | Low priority (only 1 vote from Xinxuan) | 6. Optimizing the storm forecast lead time to enable breadth of storm forecast to enable /inform pre-storm crew deployment
9. Optimizing the storm forecast lead time to enable breadth of storm forecast to enable /inform pre-storm crew deployment | Combine with 9 & 17 to provide probabilistic information in support of decision making - especially at 3-5 day timescales | 7. Study of the most cost efficient method of reducing outages from vegetation.
11. How climate change will impact future outage predictions | consider keeping number 11 (only 1 vote from Kyle) | 8. Predicting tree and infrastructure fragility and wind damage in spite of extreme uncertainty in wind at distribution system heights - say 20’ to 100’ for trees and 20’ to 50’ for poles, wires and equipment.
12. Prioritize strategies and quantify benefits of diff adaptation strategies | Low priority (only 1 vote from Xinxuan) | 9. Megaproject on transmission, distribution, and generation together.
15. Modeling response to service interruptions to quantify impact on forecasts | Low priotity (only 1 vote from Xinxuan) | 10. Regarding renewables, the Northeast is on top in the country in terms of renewable energy deployment, but still, we cannot retire traditional generators. At the same time there is an increase in demand. When renewable + zero emissions generators will be strong enough to allow to retire traditional energy sources?
16. Hierarchical modeling of controllable aspects of demand and storage & local supply to optimize resilience | Add analysis for DER management system? (only 1 vote from Xinxuan) | Climate Change
17. Probabilistic weather forecast (debris-flow-west, snow in east) | Combine with 9 & 17 to provide probabilistic information in support of decision making - especially at 3-5 day timescales. Item 17 – using probabilities to provide confidence levels to outage prediction thresholds would be useful. | 11. Impact of compound extreme weather events on grid priorities at climate and weather timescales, including hazard analysis and the effect of high wind, heavy snow, and ice on outages, and how climate change may alter flooding risks utilities need to defend against.
| ADD NEW: Study of the most cost efficient method of reducing outages from vegetation. | 12. Approaches to data-poor conditions, including developing AI models that transfer from data-rich to data-poor service territories or predict future intensified events.
| ADD NEW: Predicting tree and infrastructure fragility and wind damage in spite of extreme uncertainty in wind at distribution system heights - say 20’ to 100’ for trees and 20’ to 50’ for poles, wires and equipment. | 13. Vegetation in power line right-of-way and vegetation management given climate change, including analysis of impacts such as longer growing seasons, drought, and changing tree vulnerability, with strong encouragement for proposals on this topic to build the case for additional funding.
Climate Change |  | 14. Extreme weather, and specifically heatwaves, both in terms of outages and in terms of load increase, especially with the increased penetration of EVs and electrification of the society;
19. Impact of compound extreme weather events on grid priorities | Item 19 - yes, at climate and also at weather timescales. Item 19 – Compound hazard analysis. We would like to have a project on this topic next year. Can be combined with item 21. Item 19 – evaluate the effect of frequency of high wind, heavy snow density and ice events on outages. 19 to move to second project | 15. Marine heatwaves and their impact on coastal communities: sea breeze, offshore generation, increased mixing in the PBL during strong storms in marine heatwaves;
21. Predicting flooding effects (fresh and saltwater) | Item 21 - suggested removal due to numerous solutions in the market. Item 21. predicting impact of flooding (low occurrence) – but would climate change (precipitation, surge and sea level rise), change the level of flooding utilities need to defend from. 21 - to move to third project. | 16. Wind direction as important component to study for storms;
22. Approaches to data -poor conditions (unanticipated) | Low priority, Item 22 – develop AI model transfer from data rich to data poor service territories, or develop models that can predict future intensified events. | 17. Studying future climate for the same time frame as vulnerability studies and resilience plans (therefore on a 10-20 year time frame, and not end of the century)
23. Climate change impact on wind resources |  | 18. Studying the change of vulnerability after a storm: e.g. the impact of a second of two back-to-back hurricanes is higher than if the first hurricane never happened.
24. Vegetation in power line right-of-way | Item 24 – Vegetation analysis. We strongly encourage PIs to submit proposals on this topic next year. Move 24 to number one to build case for additional funding. Combine 28 with 24, both are vegetation studies. | Outage Management
Outage Management |  | 19. Outage data quality analysis and benchmarking outage prediction models across utilities, including understanding data collection procedures, uncertainties in historical outage causes from OMS data, and developing a model that predicts storm outages consistently across multiple service territories as part of a potential National OPM effort.
26. Fragility curves for grid hardening | 26 should be combined with 4,5,6 (only 1 vote from Kyle) | 20. Evaluating the predictability of storms, including timing and granularity, and developing probabilistic forecasts for outage prediction, with a focus on quantifying the impact of uncertainty in weather forecasts and AI modeling, and using ensemble prediction to better inform decision makers on high-impact events.
28. Vegetation management given change in climate | Climate change impact on vegetation (e.g. longer growing season, drought, different tree vulnerability). Veg important but dealt with elsewhere? Combine 28 with 24, both are vegetation studies. | 21. Developing analytics for processing AMI and other sensor data for utilities in real time, with a focus on nowcasting tool development as a potential priority for next year.
29. Outage data quality analysis driving weather events | Secondary project , Item 29 - Outage data quality is crucial for the development of outage prediction models. It is important for the model developers to understand the data collection procedure and the possible uncertainties. Item 29 - Outage data quality seems to be a huge issue but not clear what the solutions would be....may have to be dealt with in a mega-project. Item 36/37/29 – Develop a model that predicts storm outages consistently across multiple service territories (National OPM). Combine 29 & 37: but the problem is how a project on the quality of the outage causes would look like, since we cannot improve the quality of the causes (that is based on how they collect them). | 22. Manage vulnerable community risk and outage impact through priority identification, and address equity in grid hardening by identifying where investments benefit people, including the affordability of energy for vulnerable communities.
30. Evaluating predictability of storms, timing and granularity | Quantify the impact of uncertainty in weather forecasts and AI modeling on outage predictions, Combine with 30 & 31. Item 31 - Ensemble prediction will be provide more information for decision makers, especially on high-impact events. | 23. Damage prediction modeling using mechanistic and real-time granular data to estimate asset damages and support restoration efforts.
31. Developing probabilistic forecasts for outage prediction | Quantify the impact of uncertainty in weather forecasts and AI modeling on outage predictions, Combine with 30 & 31. Item 31 - Ensemble prediction will be provide more information for decision makers, especially on high-impact events. | 24. Aging of infrastructure is a concern. Connection to system hardening research topic.
32. Developing analytics for processing AMI & other sensor data for utilities in real time | Item 32 – Nowcasting tool development can be a focus for next year. | 25. Real-time damage assessment: using publicly available data (e.g. satellite, radar), together with smart meters for real-time damage assessment.
34. Manage vulnerable community risk & outage impact (priority identification) | Combine 34 and 49, but including the issue of affordability of energy for vulnerable communities. | Renewable Energy
36. Benchmarking outage prediction models across utilities (wiser utilities for example) | Primary project, Combine 36 & 37, Item 36/37/29 – Develop a model that predicts storm outages consistently across multiple service territories (National OPM) | 26. Battery storage and its relationship to renewable energy, storage and interconnection with outage scenarios, integration with EV adoption, offsetting electrification upgrades through storage, and optimizing wind, solar, and storage at grid scale, highlighting the need for storage studies for the grid.
37. Quality of historical outages causes in OMS data (actual data) | Primary project, combine 36 & 37, Item 36/37/29 – Develop a model that predicts storm outages consistently across multiple service territories (National OPM). Combine 29 & 37: but the problem is how a project on the quality of the outage causes would look like, since we cannot improve the quality of the causes (that is based on how they collect them). | 27.. Predicting large scale penetration of renewables
44. Damage prediction modeling (using mechanistic data) | Tertiary project, Item 44 – Damage prediction modeling driven by real-time granular data would allow us to estimate asset damages that can support restoration. | 28. Solar forecasting at distribution level
49. Equity in grid hardening – what/where do investments benefit people | Combine 34 and 49, but including the issue of affordability of energy for vulnerable communities. | 29. How to measure climate impact on all renewables, including the frequency and severity of energy droughts (hydropower, solar, wind), and the long-term ROI impacts of climate change.
| ADD NEW: Aging of infrastructure is a concern. Connection to system hardening research topic. | 30. Correlation of variability of intermittent resources across different geographic regions and firm clean power at all scales, supporting renewable energy prediction, with potential to build on offshore wind work and add solar studies.
Renewable Energy |  | 31. Regarding renewables, the Northeast is on top in the country in terms of renewable energy deployment, but still, we cannot retire traditional generators. At the same time there is an increase in demand. When renewable + zero emissions generators will be strong enough to allow to retire traditional energy sources?
50. Battery storage & relationship to renewable energy | Items 50, 51, 52, 54, 65 - Important for the gird and is there a need for storge studies next year? | 32. There will be a mismatch in time between generation (solar, wind, mostly during the day) and future demand (EV, electrification, mostly at night).
51. Energy storage and interconnection w/outage scenarios | Items 50, 51, 52, 54, 65 - Important for the gird and is there a need for storge studies next year? | Total # of Research Ideas: 32
52. Integration between EV adoption & energy storage | Items 50, 51, 52, 54, 65 - Important for the gird and is there a need for storge studies next year?
54. Offsetting electrification upgrades for battery storage | Items 50, 51, 52, 54, 65 - Important for the gird and is there a need for storge studies next year?, Combine 50&65 for second project at grid scale
55. Predicting large scale penetration of renewables | Only 1 vote from Xinxuan
56. Solar forecasting at distribution level | Only 1 vote from Xinxuan
57. Managing extreme load demand driving future decarbonization of electrification | Item 57 - The rate of growth of distributed generation is of interest. (only 1 vote from Manos)
58. How to measures climate impact on all renewables | Combine 58 & 59 and keep as first project. Item 58 - Energy drought (hydropower, solar, wind) frequency and severity in future climate.
59. Climate change impact on long term ROI | Combine 58 & 59 and keep as first project
62. Correlation of variability of intermittent resources across diff geographic regions | Items 62, and 64 – Renewable energy prediction. WISER has offshore wind project while solar study can be added.
64. Firm clean power at all scales | Items 62, and 64 – Renewable energy prediction. WISER has offshore wind project while solar study can be added.
65. Optimizing wind solar and storage | Items 50, 51, 52, 54, 65 - Important for the gird and is there a need for storge studies next year?, Combine 50&65 for second project at grid scale
DIEGO'S CONTRIBUTIONS:
Extreme weather, and specifically heatwaves, both in terms of outages and in terms of load increase, especially with the increased penetration of EVs and electrification of the society;
Marine heatwaves and their impact on coastal communities: sea breeze, offshore generation, increased mixing in the PBL during strong storms in marine heatwaves;
Wind direction as important component to study for storms;
Studying future climate for the same time frame as vulnerability studies and resilience plans (therefore on a 10-20 year time frame, and not end of the century)
Studying the change of vulnerability after a storm: e.g. the impact of a second of two back-to-back hurricanes is higher than if the first hurricane never happened.
Megaproject on transmission, distribution, and generation together.
Are there data that we may need but that utilities are not collecting?
Extreme weather events are the most important ones, but quality of the data in those events is the lowest.
Real-time damage assessment: using publicly available data (e.g. satellite, radar), together with smart meters for real-time damage assessment.
Regarding renewables, the Northeast is on top in the country in terms of renewable energy deployment, but still, we cannot retire traditional generators. At the same time there is an increase in demand. When renewable + zero emissions generators will be strong enough to allow to retire traditional energy sources?
There will be a mismatch in time between generation (solar, wind, mostly during the day) and future demand (EV, electrification, mostly at night).
# of Research Ideas with Multiple Votes: 30 | Research Ideas with Multiple Votes: 2,4,5,6,7,9,17, 19,21,22,23,24,28,29,30,31,32, 34, 36,37,49,50,51,52,54,58,59,62,64,65
# of Research Ideas with 1 Vote: 10 | Research Ideas with 1 Vote: 8,11,12,15,16,26,44,55,56,57

## 2024
Research Ideas | # of Votes | OVERALL TOP RESEARCH IDEA | # OF VOTES
Total Number of Voters | 12 | Grid Resilience: System hardening effectiveness ROI (pole, materials, size of pole, wireless transmission, AC vs. DC, transmission, helps utilities prioritize) | 7
Grid Resilience |  | TOP RESEARCH IDEAS OF EACH RESEARCH THRUST AREA
1. Utility induced wildfire and ignition mitigation | 4 | Grid Resilience
2. Heat wave related load management | 5 | 4. System hardening effectiveness ROI (pole, materials, size of pole, wireless transmission, AC vs. DC, transmission, helps utilities prioritize)
3. Sky-based solar forecasting and resulting impact on large scale storage | 2 | 2. Heat wave related load management
4. System hardening effectiveness ROI (pole, materials, size of pole, wireless transmission, AC vs. DC, transmission, helps utilities prioritize) | 7 | 5. Emerging technologies impact on grid resilience -assist for utilities
5. Emerging technologies impact on grid resilience -assist for utilities | 5 | Climate Change
6. Climate change impact on system hardening ROI | 3 | 19. Impact of compound extreme weather events on grid priorities
7. Optimizing restoration resources in /among utilities | 1 | 21. Predicting flooding effects (fresh and saltwater)
8. Develop accurate methods to predict electrification demand | 2 | 24. Vegetation in power line right-of-way
9. Optimizing the storm forecast lead time to enable breadth of storm forecast to enable /inform pre-storm crew deployment | 4 | Outage Management
10. Quantity of risk reduction to inform wildfire risk reduction strategies | 1 | 49. Equity in grid hardening – what/where do investments benefit people
11. How climate change will impact future outage predictions | 2 | 29. Outage data quality analysis driving weather events
12. Prioritize strategies and quantify benefits of diff adaptation strategies | 2 | 36. Benchmarking outage prediction models across utilities (wiser utilities for example)
13. Identifying weak links in grid interconnections | 0 | 37. Quality of historical outages causes in OMS data (actual data)
14. Closing energy balance for climate driven demand and generation | 1 | Renewable Energy
15. Modeling response to service interruptions to quantify impact on forecasts | 1 | 58. How to measures climate impact on all renewables
16. Hierarchical modeling of controllable aspects of demand and storage & local supply to optimize resilience | 1 | 59. Climate change impact on long term ROI
17. Probabilistic weather forecast (debris-flow-west, snow in east) | 2
18. Assess infrastructure improvements normalized by weather intensity | 2
Climate Change
19. Impact of compound extreme weather events on grid priorities | 5 | Other Suggestions:
20. Heat waves and underground urban infrastructure | 2
21. Predicting flooding effects (fresh and saltwater) | 3 | Predicting tree and infrastructure fragility and wind damage in spite of extreme uncertainty in wind at distribution system heights - say 20’ to 100’ for trees and 20’ to 50’ for poles, wires and equipment. | ConEd | 2024-11-01
22. Approaches to data -poor conditions (unanticipated) | 0
23. Climate change impact on wind resources | 0
24. Vegetation in power line right-of-way | 3
25. Probabilistic weather forecast | 0
Outage Management
26. Fragility curves for grid hardening | 1
27. Transmission system planning considering resiliency | 2
28. Vegetation management given change in climate | 1
29. Outage data quality analysis driving weather events | 4
30. Evaluating predictability of storms, timing and granularity | 2
31. Developing probabilistic forecasts for outage prediction | 0
32. Developing analytics for processing AMI & other sensor data for utilities in real time | 2
33. Optimize deployment of restoration resources by outage type (pole down, wire, transformer) | 1
34. Manage vulnerable community risk & outage impact (priority identification) | 1
35. Storage use prediction | 0
36. Benchmarking outage prediction models across utilities (wiser utilities for example) | 3
37. Quality of historical outages causes in OMS data (actual data) | 3
38. Public safety power shut off – enhance predictability | 0
39. AI driven approaches for enhancing awareness of outage sand conditions causing outages | 1
40. Flexible extreme storm simulators for OPMs | 0
41. Social costs awareness of outage recovery planning | 2
42. Experts’ solicitation for black swan outage events awareness | 0
43. Compound effects on restoration (flooding, multiple storms) | 2
44. Damage prediction modeling (using mechanistic data) | 0
45. Health monitoring of grid infrastructure (most vulnerable assets) | 2
46. Better collection of causes of failure | 1
47. Dashboard for real time outage forecasts -public, national level etc. | 2
48. Long term projections – average exposure to power outages – larger amounts of synthetic weather to inform hardening decisions | 2
49. Equity in grid hardening – what/where do investments benefit people | 4
Renewable Energy
50. Battery storage & relationship to renewable energy | 1
51. Energy storage and interconnection w/outage scenarios | 1
52. Integration between EV adoption & energy storage | 2
53. Spatial correlations between wind and solar | 0
54. Offsetting electrification upgrades for battery storage | 2
55. Predicting large scale penetration of renewables | 1
56. Solar forecasting at distribution level | 2
57. Managing extreme load demand driving future decarbonization of electrification | 0
58. How to measures climate impact on all renewables | 3
59. Climate change impact on long term ROI | 3
60. Model resiliency on loss of renewables | 1
61. Impact on change in gulf stream on load | 0
62. Correlation of variability of intermittent resources across diff geographic regions | 2
63. Value of different storms types on different weather scenarios | 1
64. Firm clean power at all scales | 1
65. Optimizing wind solar and storage | 1
66. Flexibility and implicit storage | 0
67. Regionally tuned storage solutions over 25-year period | 1
68. Renewable energy integration | 0
69. Urban renewable siting | 0